DORMA TENSOR™ Self-Closing All-Glass Double-Acting Door System
Guide Specification

Tempered glass doors are increasingly popular in both commercial and residential markets and designers often choose to fit them with double-acting hinges. The DORMA TENSOR double-acting hinge is suitable for a wide range of applications, including conversions and renovations. DORMA TENSOR may be installed directly on a masonry opening or to steel frame. These hinges may also be installed directly to a fixed tempered glass panel, the only double-acting hinge on the market with this capability.

The TENSOR hinge offers an automatic closing function engineered to bring the door safely back to its zero position - a position adjustable with-in the hinge at any time to ensure that double-leaf doors remain precisely aligned. This convenient feature eliminates the need for a concealed floor or overhead closer, which may be ruled out due to on-site job constraints.

An inlay embossed with the DORMA logo provides a mechanical stop, protecting the hinge surface against damage when the door is opened to 90 degrees. The inlay also protects TENSOR’s technical core - the simple, high-precision zero-position adjustment mechanism. This mechanism ensures the double-acting door closes efficiently and effectively.

At 90 degrees, the TENSOR system holds the door firmly and securely in position. Once pushed in the closing direction, the spring mechanism of the TENSOR fitting takes over, operating from an angle of 80 degrees. The door closes quickly and securely.

DORMA TENSOR hinges have been successfully tested for 500,000 operating cycles, making TENSOR a perfect addition to the DORMA family of top quality products..

DORMA Interior products and solutions help create balance between function and aesthetics in the interior architecture of office units and professional practices. They provide spatial efficiency, transparency, smooth transitions between spaces, comfort and flexibility.

We recommend you consult with your DORMA representative, who can be contacted through DORMA USA, Inc.; (800) 523-8483; email: specification@dorma-usa.com; website: www.dorma.com.

DORMA USA products appear in the following CSI MasterFormat specifications sections:

DORMA Interiors

10 22 15 Fixed Glass Panel Partitions: PURE; PURE Enclose; Prive; Fusion

10 22 19 Demountable Glass Partitions: DORMA REVEAL

DORMA GLAS

08 17 53 Interior Glass Door Assemblies: VISUR; AGILE 150/Synchro; RS120/SYNCHRO; DRS120; RSP80; TENSOR

08 41 26 All-Glass Entrances and Storefronts: Rail Fittings; Patch Fittings; Dri-Fit Rails

10 22 39 Folding Partitions, Glass: FSW G, C

10 22 43 Sliding Partitions, Glass: HSW DRS, G, MR; HSW ISO; HSW GP, R

DORMA ENTRANCE SYSTEMS

08 42 29 Automatic Entrances, Swinging: ED100/ED250; ED400; ED400-IG; ED700

08 42 29 Automatic Entrances, Folding: ED1200

08 42 29 Automatic Entrances, Sliding: ESA100/ESA100T; SA200/ESA200T; ESA300/ESA300T; ESA400; ESA500

08 42 29 Automatic Sliding Interior Entrances: MAGNEO

08 42 43 ICU/CCU Entrances: ICU300 / 300T; ICU1200

CRANE REVOLVING DOOR

08 42 33 Revolving Door Entrances: 1000 Series; 2000 Series; 3000 Series; 4000 Series; KTC Series

This document is Copyright© 2013 by DORMA USA, Inc.

This guide specification is based upon TENSOR™ All-Glass Self-Closing, Double-Acting Door System.

SECTION 08 42 26 – INTERIOR ALL-GLASS ENTRANCES

GENERAL

SUMMARY

Section includes swinging, self-closing interior all-glass door assemblies.

REFERENCE STANDARDS

Specifier: If retaining References article, edit the list below to include only those references in the edited section.

American Architectural Manufacturers Association (AAMA): www.aama.org:

AAMA 611 Voluntary Specification for Anodized Architectural Aluminum

ASTM International (ASTM): www.astm.org:

ASTM C 1048 Standard Specification for Heat-Strengthened and Fully Tempered Flat Glass

Builders Hardware Manufacturers Association (BHMA): www.buildershardware.com:

ANSI/BHMA A156 Series

Code of Federal Regulations

16 CFR 1201 Safety Standard for Architectural Glazing Materials

International Code Council (ICC): www.iccsafe.org:

ICC A117.1 Accessible and Usable Buildings and Facilities (ANSI)

Safety Glazing Certification Council (SGCC): www.sgcc.org:

Certified Products Directory

U.S. Architectural & Transportation Barriers Compliance Board: www.access-board.gov:

Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities

ADMINISTRATIVE REQUIREMENTS

Coordination:

Coordinate installation of interior glass door assemblies with installation of floor and wall opening construction to comply with tolerance requirements of recessed components.

Coordinate installation of anchors and blocking indicated on approved all-glass entrance shop drawings.

ACTION SUBMITTALS

Product Data: For each all-glass entrance component, including:

Glass panels.

Self-closing hinges.

Auxiliary door hardware and accessories.

Shop Drawings: For interior glass door assemblies.

Include plans, elevations, sections, and details. Use glass panel type designations where specified.

Locations and requirements for recesses and attachments to other work.

Door hardware locations, mounting heights, and installation requirements.

Samples for Verification: For each exposed component including hardware, for each color and finish selected, of size indicated below:

Glass: 6 inches (150 mm) square, showing exposed-edge finish[ and tint].

Hardware: One of each type of exposed door hardware items.

INFORMATIONAL SUBMITTALS

Qualification Data: For qualified installer.

Warranty: Sample of unexecuted manufacturer warranty.

CLOSEOUT SUBMITTALS

Maintenance Data: For interior glass door assemblies, to include in maintenance manuals.

QUALITY ASSURANCE

Installer Qualifications: Experienced Installer equipped and trained for installation of interior glass door assemblies required for this Project with record of successful completion of not less than five projects of similar scope.

WARRANTY

Special Manufacturer's Warranty: Standard form in which manufacturer agrees to repair or replace components of interior glass door assemblies that demonstrate deterioration or faulty operation due to defects in materials or workmanship under normal use within warranty period specified.

Warranty Period: [2] years date of Substantial Completion.

PRODUCTS

MANUFACTURERS

Specifier: Retain option in "Basis of Design Product" Paragraph for evaluating substitutions when required for project.

Basis-of-Design Product: Provide TENSOR interior glass door assemblies manufactured by DORMA USA, Inc.; (800) 523-8483; email: specification@dorma-usa.com; website: www.dorma.com, [or comparable products of other manufacturer approved by Architect in accordance with Instructions to Bidders and Division 01 General Requirements].

Specifier: Select one or more of the glass types from list below as required for project. If more than one glass type is required, retain the optional drawing designations and indicate locations of each type on Drawings. Consult DORMA representative for availability of additional glass panel options.

Specifier: DORMA TENSOR hinges will support a maximum door panel weight of 143 lb (65 kg) and maximum panel width of 39-3/8 inch (1000 mm) and maximum height of 98-1/2 inches (2502 mm).

GLASS PANELS

Glass Panels, General:

Provide glass panels that comply with 16 CFR 1201, Category II requirements for safety glazing. Permanently mark glazing with certification label of the SGCC.

Provide glass panels with exposed edges machine ground and flat polished.

Fully Tempered Clear Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; thickness [9.5 mm] [12.0 mm].

Fully Tempered Ultraclear (Low-Iron) Float Glass [GL#__]: ASTM C 1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3, with visible light transmission of not less than 91 percent; thickness [9.5 mm] [12.0 mm].

Fully Tempered Tinted Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 2, Quality-Q3; thickness [9.5 mm] [12.0 mm].

Specifier: Consult DORMA representative for more information on the variety of textured and art glass and custom glass treatments that are available.

Textured Glass: Clear Fully Tempered Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; Finish F1 (textured one side); thickness [9.5 mm] [12.0 mm].

Designer Glass Pattern: [Skyline Design] [Joel Berman Studios] <Insert designer glass source>, <Insert texture and pattern description>.

SWINGING DOOR ASSEMBLIES

Accessibility Standard: Comply with applicable provisions in ADA-ABA Accessibility Guidelines for Buildings and Facilities [and] [ICC A117.1] [requirements of authorities having jurisdiction].

Single Door: [36 by 80 inches (914 by 2032 mm)] [36 by 84 inches (914 by 2134 mm)] [As scheduled] <Insert door size>.

Double Door: [72 by 80 inches (1829 by 2032 mm)] [72 by 84 inches (1829 by 2134 mm)] [As scheduled] <Insert door size>.

Sidelights: Glass panels of material and thickness specified, of size indicated on Drawings, held within [dry gasket glazing channel] [glazing U channels] as indicated on Drawings.

Specifier: Retain applicable door hardware components in "Door Hardware and Fittings" Paragraph. Show location of door hardware components on Drawings.

Specifier: Retain applicable door hardware components in "Door Hardware and Fittings" Paragraph. Show location of door hardware components on Drawings.

DORMA offers a wide array of applicable door hardware options for interior glass door assemblies. Consult DORMA representative for additional options, including electronic access controls.

DOOR HARDWARE AND FITTINGS

Door Hardware, General: All-glass door hardware units in types, sizes, quantities, and mounting locations recommended by manufacturer for glass door types, sizes, and operation.

Self-Closing Double Acting Hinge: With self-closing function, hold-open feature, and closed position adjustment.

Basis of Design: DORMA, TENSOR Self-Closing Double Acting Hinge.

Swing: Double-acting [with positive dead stop] [with cushion stop].

Hold Open: 90 degree.

Opening Force: Not exceeding 9 lbf/ft. (12 Nm) torque.

Opening Force: Comply with interior door operating force of authorities having jurisdiction for [accessibility requirements] [and] [egress doors].

Endurance Testing: Not less than 500,000 cycles.

Mounting: [Frame mounting with embedded mounting plate] [Surface mounting with surface mounting plate] [Glass-to-glass mounting] [As indicated on Drawings].

Finish: [Aluminum satin brass] [Aluminum EV1Deco] [Aluminum satin stainless] [Polished chrome].

Auxiliary Stop: Stainless steel floor-mounted post with rubber bumper.

Specifier: A wide variety of DORMA decorative operating trim designs are suitable for use with TENSOR swinging doors.

[Push-Pull Sets] [Pulls and Handles]: [One-sided] [Back-to-back].

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Verify compliance of locking ladder pulls with project accessibility requirements, if applicable.

Locking Ladder Pull: Pair of tubular lockable pull handles with thumb turns, Grade 316L stainless steel, accommodating key cylinder, with [floor-recessed deadbolt] [and] [head-mounted deadbolt].

Basis of Design: DORMA, Locking Ladder Pulls.

Unit Length: [49 inch (1245 mm)], [60 inch (1524 mm)], [72 inch (1829 mm)], [84 inch (2134 mm)], [__ inch (__ mm)] <insert custom length>.

Mechanical Locks and Latches:

Single-Door and Active-Leaf Locksets: Manufacturer’s standard patch dead-bolt locksets.

Mortise lock and housing:

- Basis of Design: DORMA, CLM9000 Series <insert function, lever, and cylinder information>.

Specifier: Three DORMA locksets below utilize Euro profile key cylinders.

- Basis of Design: DORMA, Studio Series <insert function, lever, and cylinder information>.

- Basis of Design: DORMA, Junior Office Series <insert function, lever, and cylinder information>.

- Basis of Design: DORMA, Arcos Series <insert function, lever, and cylinder information>.

Inactive-Leaf Locksets: Manufacturer’s standard hook-bolt locksets.

Bottom patch fitting dead bolt engaging a dust proof strike operated by key outside and thumb turn inside.

Lock and Latch Housings: Patch mounting to glass panel door, with matching strike mounted in housing on adjacent glass panel.

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Levers: Wrought, with wrought escutcheons.

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Specifier: Select one of three "Lock Cylinder" paragraphs below.

Lock Cylinders: Manufacturer's standard cylinders for lock housing type specified.

Lock Cylinders: Tumbler type, constructed from brass or bronze, stainless steel, or nickel silver; BHMA A156.5, Grade 1, permanent removable cores; with face finish matching lockset[, keyed to master key system].

Lock Cylinders: As specified in Section 08 71 00 "Door Hardware."

FABRICATION

General:  Fabricate interior glass door assemblies in sizes, profiles, and configurations shown on Drawings.

Provide holes and cutouts in glass to receive hardware, fittings, and accessories prior to tempering glass.  Do not cut, drill, or make other alterations to glass after tempering.

Fully temper glass using horizontal (roller-hearth) process, and fabricate so that when glass is installed, roll-wave distortion is parallel with bottom edge of door or lite.

EXECUTION

EXAMINATION

Examine door opening to determine if work is within all-glass entrance manufacturer's required tolerances and ready to receive work. Proceed with installation once conditions affecting installation and performance meet manufacturer's requirements.

DOOR INSTALLATION

General: Comply with all-glass entrance manufacturer's written installation instructions and approved shop drawings.

Install interior glass door assemblies after other finishing operations have been completed. Coordinate installation of recesses housings with installation of adjacent finishes.

Set units level, plumb, and true to line, with uniform joints.

Maintain uniform clearances between adjacent components.

Secure housings and components to building structure using manufacturer's recommended fasteners suitable for application.

ADJUSTING

Adjust doors and hardware to produce smooth operation and uniform fit.

Adjust self-closing hinges for accurate door alignment.

Adjust hardware for smooth operation.

Replace damaged glass panels and accessories.

CLEANING

Clean glass panels in accordance with glass manufacturer's written instructions. Do not use cleaning agents or methods not approved by glass manufacturer.

Clean exposed metal surfaces to factory new appearance.

END OF SECTION

Additional Specifiers Notes

Substitution Reviews: When reviewing substitution requests for other products for compliance with this specification, DORMA recommends particular attention to the following issues:

Fully concealed door operating mechanisms: Design details of DORMA's interior glass door assemblies are what give them the visual appeal that caused them to be selected as a basis of design

Door Hardware Options: DORMA's position as an international leader in decorative door hardware allows DORMA to offer a complete array of coordinated hardware options and finishes for interior glass door assemblies .

Coordination: Make sure you coordinate the following:

Locations and operation of doors including swing or sliding travel

Elevations indicating details of special decorative glass elements

Details of opening finishes in related to overhead- and floor- recessed components and cover plates.