SECTION 11 14 00 – PEDESTRIAN CONTROL EQUIPMENT

1. GENERAL
   * + 1. SUMMARY
          1. Section includes half height turnstiles. Provide complete system that has been fabricated and tested for proper operation at the factory.
          2. Related Requirements:

Section 03 3000 "Cast-in-Place Concrete" for blockouts for recesses.

Division 26 electrical power section for wiring requirements.

Section 28 13 00 "Access Control" for security access system providing control for door access and intrusion detection systems interfacing with half height turnstiles.

* + - 1. REFERENCE STANDARDS
         1. American Architectural Manufacturers Association (AAMA)

AAMA 611 Voluntary Specification for Anodized Architectural Aluminum

* + - * 1. ASTM International (ASTM)

ASTM A 36 / A36 Standard Specification for Carbon Structural Steel.

ASTM A 240 / A 240M Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications

ASTM A 666 Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar

ASTM B 209 Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM B 221 / ASTM B 221M Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes

* + - * 1. International Code Council (ICC)

ICC A117.1 Accessible and Usable Buildings and Facilities (ANSI)

* + - * 1. National Fire Protection Association (NFPA)

NFPA 70 National Electric Code.

NFPA 101 Life Safety Code.

* + - 1. ADMINISTRATION
         1. Coordination:

Recesses: Coordinate size and location of recesses in floor construction for turnstile components including anchorages for frames and supports.

Anchorages: Furnish setting drawings, templates, and directions for installing anchorages that are to be embedded into flooring.

* + - * 1. Pre-installation Conference: Conduct conference at Project Site with Installation team.
      1. ACTION SUBMITTALS
         1. Product Data: For each type of half height turnstiles specified.

Include details, material descriptions, dimensions and profiles, and finishes.

Include rated capacities, operating characteristics, electrical characteristics, and specialties and accessories.

* + - * 1. Shop Drawings: For half height turnstiless.

Include plans, elevations, sections, attachment details, dimensions, required clearances, methods of field assembly, and location and size of each field connection.

Indicate enclosures and components.

Include diagrams for power, signal, and control wiring.

* + - * 1. Samples for Verification: For each exposed component including hardware, for each color and finish selected, as required by architect.
      1. INFORMATIONAL SUBMITTALS
         1. Qualification Data: For qualified installer.
         2. Field quality control reports.
         3. Warranty: Sample of unexecuted manufacturer warranty.
         4. Manufacturers product information and applicable sustainability program credits that are available towards a LEED rated product certification.

Credit MR 4.1 and 4.2: Manufacture’s or fabricator’s certificate indicating percentage of post-consumer recycled content by weight and pre-consumer recycled content by weight for each product specified under this section.

* + - 1. CLOSEOUT SUBMITTALS
         1. Maintenance Data: For half height turnstiless, to include in operation and maintenance manuals.
      2. QUALITY ASSURANCE
         1. Installer Qualifications: Installer with minmum 10 years of experience equipped and trained by manufacturer for installation and maintenance of units required for this Project, and who employs a Certified Inspector.
      3. DELIVERY, STORAGE, AND HANDLING
         1. Package half height turnstiles components individually with fasteners and installation templates; label and identify each package with door opening designation corresponding to Door Schedule.
         2. Store components in weather-protected area in manufacturer's unopened packaging until ready for installation.
         3. Protect materials from exposure to weather. Do not deliver until Rough Opening is Complete and Ready for Installation.
      4. WARRANTY
         1. Special Manufacturer's Warranty: Standard form in which manufacturer agrees to repair or replace components of half height turnstiless that demonstrate deterioration or faulty operation due to defects in materials or workmanship under normal use within warranty period specified.

Fabrication Warranty Period: One (1) year from date of Substantial Completion.

1. PRODUCTS
   * + 1. MANUFACTURERS
          1. Basis-of-Design Product: Provide half height turnstiles manufactured by dormakaba, Winston-Salem, NC; (844)-SPEC-NOW (844)773-2669; email: [specnow.us@dormakaba.com](mailto:specnow.us@dormakaba.com) ;website: [www.dormakaba.us](http://www.dormakaba.us)
          2. **[Substitutions: Requests for substitution and product approval in compliance with the specification must be submitted in writing and in accordance with the procedures outlined in Division 1, Section “Substitution Procedures”. Approval of requests is at the discretion of the architect, owner, and their designated consultants.]**
          3. **[Substitutions Not Permitted]**
          4. Source Limitations: Obtain half height turnstiles components through one source from a single manufacturer.
       2. HALF HEIGHT TURNSTILES
          1. Column: Shall be manufactured from #4 brushed stainless steel.
          2. Door Wing: thickness 10 mm glass with hand rails.
          3. Lateral barriers: #4 brushed stainless steel tubing in a curve.
       3. EQUIPMENT
          1. Turnstile is equipped with a servo positioning drive (low energy drive) and is electrically controlled in both directions.
          2. Rotary motion is started by manually pushing the turnstile. The rotating unit is then automatically turned by a motor to the next home position.
          3. Locking Device: The locking device is activated in the closed position and will withstand up to 55 lbs. (120 Nm) pushing force.
          4. Power Loss (Fail Safe): In the event of power loss, the half height turnstiles can rotate manually for egress.
       4. SECURITY
          1. Actuation: Half height turnstiles actuation by external card reader, biometric reader, key pad or remote push button. Actuation devices provided by but not limited to dormakaba.
          2. Tailgating Control: Turnstile shall allow one rotation per authorization.
       5. OPERATION
          1. Power Assist: turnstile is equipped with a servo-positioning drive (low energy drive) and is electrically controlled in both directions. Rotary motion is started by manually pushing the turnstile. The rotating unit is then automatically turned by a motor to the next home position.
          2. Electrical controls are available in both entrance and exit directions. Turnstiles shall be built to customer’s specified configuration.
          3. Once a direction of passage is unlocked, it will remain unlocked until the user proceeds through to the other side of the turnstile. Once the user proceeds through the turnstile, the reset system automatically re-locks the turnstile and readies it for the next user.
          4. Means Cycle between failure: 2 million cycles.
       6. POWER REQUIREMENTS
          1. Electrical Characteristics:

Voltage: 110-230 VAC 50/60 Hz.

Refer to Division 26 electrical sections for wiring connections.

* + - 1. MATERIALS
         1. Materials provided shall meet ASTM standards.
      2. FINISHES

Contact SPEC Now for custom finish options. Choose type of finish and type color and/or metal.

* + - * 1. Comply with NAAMMs “Metal Finishes Manual for Architectural and Metal Products” for recommendations for applying and designating finishes.
        2. Column and Lateral barriers:

Stainless Steel

**[Stainless Steel #4 brushed]**

Consult SPEC NOW for Options information

* + - 1. OPTIONS
         1. Remote control panel
         2. Credential Reader – surface mounted
         3. Red and green signal lights
         4. Two wing configuration with combined ADA access gate
         5. Stainless steel tubular barrier configuration (no glass)

1. EXECUTION
   * + 1. EXAMINATION
          1. Examine half height turnstiles to determine if work is within manufacturer's required tolerances and ready to receive work.

Verify recesses and supplemental framing comply with requirements on approved shop drawings.

Verify electrical power and control connections are properly located and of correct characteristics.

* + - * 1. Proceed with installation once conditions affecting installation and performance of interlocking door entrance meet manufacturer's requirements.
      1. INSTALLATION
         1. General: Comply with turnstile manufacturer's written installation instructions and approved shop drawings.
         2. Set units level, plumb, and true to line, with uniform joints. Maintain assembly dimensional tolerances, aligning with adjacent Work.
         3. Install enclosure panels in accordance with manufacturer.
         4. Complete connections to electrical power, lighting, and controls in accordance with requirements of respective Division 26 and Division 28 Sections.
         5. Install panels, with operators and controls. Fit, align, and adjust assembly for smooth operation.
      2. ADJUSTING
         1. Adjust operating components and hardware to produce smooth operation and tight, uniform fit.
         2. Replace damaged components and accessories.
      3. CLEANING
         1. Clean finished surfaces in accordance with manufacturer's written instructions. Do not use cleaning agents or methods not approved by manufacturer.
         2. Clean exposed metal surfaces to factory new appearance.

END OF SECTION