SECTION 08462

AUTOMATIC SWING/FOLD DOORS

Display hidden notes to specifier by using “Tools”/”Options”/“View”/”Hidden Text”.

** NOTE TO SPECIFIER ** DORMA Automatics, Inc.; Automatic swing/fold entrance door products.

This section is based on the products of DORMA Automatics, Inc., which is located at:

924 Sherwood Drive

Lake Bluff, Illinois  60044

Toll Free: (877) 367-6211

Fax: (877) 423-7999

www: http://www.dorma-usa.com

E-Mail: automatics@dorma-usa.com

[click Here] for additional information.

DORMA Automatics incorporates Safety, Innovation, Functionality, and Superior Design into each automatic door system it produces. From its world-class manufacturing plant in Lake Bluff, Illinois, DORMA Automatics designs and markets an extensive and innovative line of sliding, swinging, folding and revolving door systems that meet and exceed industry standards.

Each product offers exclusive features such as advanced microprocessor control for precision performance and long lasting reliability. A variety of sensors — all engineered to provide optimum safety — are available to meet every application. Other features setting DORMA Automatics apart from competitors include a handheld CPU for quick commissioning and diagnostic servicing, as well as sound-dampening designs to reduce noise.

This specification includes DORMA Automatics doors and controls for overhead concealed swinging door systems and operators for overhead surface applied doors to cover a wide range of applications and finishes. DORMA also manufactures equipment for automatic sliding doors and manual sliding doors that are not contained in this specification. DORMA Automatics are widely recognized for displaying attractive looks, superior functionality, and design versatility. Contact DORMA Automatics for any additional information required.

GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

Concealed Overhead Automatic Operator and Door for Swinging Entrance Doors.

Concealed Overhead Automatic Low Energy Operator and Doors for Barrier Free Swinging Entrance Doors.

Surface Applied Automatic Operator for Swinging Entrance Doors.

Surface Applied Automatic Low Energy Operator for Barrier Free Swinging Entrance Doors.

Surface Applied Automatic Operator for Bi-Folding Entrance Doors.

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 05100 -  Structural Metal Framing: Door Frames.

Section 06100 -  Rough Carpentry: Door Frames.

Section 08100 -  Metal Doors and Frames.

Section 08200 -  Wood and Plastic Doors.

Section 07900 - Caulking.

Section 08162 - Manual Sliding Doors.

Section 08400 - Entrances and Storefronts: Aluminum doors and frames.

Section 08461 - Automatic Sliding Doors.

Section 08710 - Door Hardware: Cylinder locks.

Section 08800 - Glass and Glazing: General glazing requirements.

Section 16120 - Electrical Supply and Termination.

Section 16225 - Motors: Requirements for motors, NEMA MG1.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

ANSI A117.1 -  American National Standard for Accessible and Useable Buildings and Facilities.

ANSI A156.10 - Power Operated Pedestrian Doors.

ANSI A156.19 - Power Assist and Low Energy Power Operated Doors.

ANSI-Z97.1.2 - Safety Performance Specifications and Methods of Test for Safety Glazing Materials Used in Buildings.

ASTM B 221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

Aluminum Association Standard AA DAF-45 - Designation System for Aluminum Finishes.

NFPA 70 – National Electric Code.

NFPA 101 – Life Safety Code.

UL 325 - Door, Drapery, Gate, Louver, and Window Operators and Systems - (UL) listed.

DESIGN / PERFORMANCE REQUIREMENTS

Automatic swinging door system shall be certified by the manufacturer to meet performance design criteria according to the following test standards.

ANSI A156.10.

NFPA 101.

Underwriter’s Laboratories 325 (UL) listed.

Accessibility Requirements: Comply with requirements of Local building code, and Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities.

** NOTE TO SPECIFIER **  Coordinate with mechanical engineer to determine if artificially induced air pressure and suction loads in building interior will adversely affect requirements of the following paragraph.

System Design: Operate, hold open, and close doors under design wind and suction loads calculated in accordance with applicable building code.

Operating Temperature Range: Minus 30 to plus 131 degrees F (minus 35 to plus 55 degrees C) ambient.

Operators: Fully adjustable for opening and closing speeds, checking speeds, hold open time.

Electrical: 120 VAC, 60 Hz, 5 Amp service provided to the header.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Operation and maintenance data.

Shop Drawings: Indicate layout and dimensions; head, jamb, and sill conditions; elevations; components, anchorage, adjacent construction interface, recesses, materials, and finishes, electrical characteristics and connection requirements.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

Verification Samples:  For each finish product specified, two samples, minimum size 6  inches (150 mm) square, representing actual product, color, and patterns.

Manufacturer's Certificates: Certify products meet or exceed specified requirements.

Manufacturers warranties.

Contract Closeout: Submit

As-Built Record Documents showing actual installation conditions and wiring.

Manufacturer’s Warranty.

Parts lists and maintenance instructions including data on operating hardware, lubrication requirements, and inspection procedures related to preventative maintenance.

American Association of Automatic Door Manufacturers (AAADM) inspection form completed and signed by certified AAADM inspector prior to doors being placed into operation.

QUALITY ASSURANCE

Manufacturer Qualifications: Manufacturer to have minimum five years documented experience in the fabrication of automatic doors of the type required for this project and be capable of providing field service representation during installation.

Installer Qualifications: Installer to be experienced in the work of this section who has specialized in the installation of work similar to that required for this project.

Certified Inspector: Copy of current AAADM Certification for AAADM inspector prior inspection.

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

Mock-Up:  Provide a mock-up for evaluation of installation techniques and application workmanship.

Finish areas designated by Architect.

Do not proceed with remaining work until workmanship, color, and sheen are approved by Architect.

Refinish mock-up area as required to produce acceptable work.

Accepted mock-up may become part of the Work.

DELIVERY, STORAGE, AND HANDLING

Package hardware items individually with necessary fasteners and installation templates when necessary; label and identify each package with door opening code to match door schedule.

Store products in manufacturer's unopened packaging until ready for installation.

Protect materials from exposure to moisture. Do not deliver until after wet work is complete and dry.

Store materials in a dry, warm, ventilated weathertight location.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

MAINTENANCE MATERIALS

Provide special wrenches and tools applicable to each different or special hardware component.

COORDINATION

Coordinate work with other directly affected components involving manufacture or fabrication of reinforcement for door hardware and recessed items.

Coordinate work with other directly affected components involving electrical wiring and components.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer: DORMA Automatics, Inc.; 924 Sherwood Drive, Lake Bluff, Illinois 60044.  ASD. Toll Free: 1-877-367-621.1  Fax: 1-877-423-7999. Web: www.dorma-usa.com. E-Mail: automatics@dorma-usa.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

COMPONENTS

Extruded Aluminum: ASTM B 221; 6063 alloy, T5 temper typical, 6061 alloy, T6 temper for extruded structural members.

Glass: Glass shall be in accordance with Safety Glazing standard ANSI-Z97.1.2.

Single pane of fully tempered select glazing quality clear float glass, safety glass, minimum 1/4 inch (6 mm) thick, conforming with requirements in Section 08800 - Glazing.

Sealed double pane units, consisting of fully tempered select glazing quality clear float glass, safety glass, total thickness 1 inch (25 mm), conforming with requirements in Section 08800 - Glazing.

Glazing Materials: Entrance manufacturer’s standard types to suit application and conforming with requirements specified in Section 08800.

Weatherstripping: Entrance manufacturer’s standard types to suit application.

Fasteners: Stainless steel or corrosion resistant steel.

** NOTE TO SPECIFIER ** DORMA ED 1200 is a overhead concealed system with full breakout design in the direction of egress for applications requiring emergency egress through sliding door panels.

AUTOMATIC FOLDING DOOR SYSTEM

Automatic Folding Door System: DORMA ED1200, Overhead-concealed breakout design with header, door panel(s), jambs, electromechanical self lubricating gear box with microprocessor control, connecting hardware, actuating controls, and On-Off-Hold Open Switch. Provide to dimension heights and widths indicated on the Drawings.

Folding Doors:

** NOTE TO SPECIFIER **  Select the following paragraphs as required for the project and delete those not required.

Aluminum Doors as specified in Section 08400.

Metal Doors as specified in Section 08100.

Wood Doors as specified in Section 08200.

Aluminum header, 6 inches by 6 inches (212 mm by 212 mm).

All structural wall thickness .125 inches (3 mm) minimum.

All operator components factory assembled.

Door functions in accordance with ANSI A156.10

AAADM compliance inspection shall be completed after the door system is completely installed.

Door Operation: Powered using ED400 operator.

** NOTE TO SPECIFIER **  Select one of the following Full Power or Low Energy paragraphs as required for the project and delete the one not required.

Full Power Pedestrian Door:

Operator uses a 1/8 HP permanent magnet motor through bevel and spur gears with a minimum of 120/1 gear ratio reduction.  Mechanism loads torsion springs during the opening cycle.

Motor serves as a dynamic brake to control speed during the closing cycle.

Provide with a digital encoder to continuously supply the microprocessor control with door velocity and position information.

Performance parameters shall not exceed applicable ANSI A156.10 and/or ETL/UL standards.

All door functions such as opening speed, closing speed, check locations, hold open, etc., and shall be fully programmable without the use of limit switches by utilizing the microprocessor control.

Performance functions are adjustable or selectable as follows:

Opening Time: Adjustable from 2.3 to 5.0 seconds to back check.

Power Hold Close:  Extra closing force for stack pressure problems

Closing Time:  Adjustable from 2.5 to 5.0 seconds to latch check.

Open Angle:  Adjustable from 85 to 110 degrees.

Back Check angle:  Adjustable from 65 to 95 degrees.

Latch Check:  Adjustable from 10 to 30 degrees.

Hold Open Delay:  Adjustable from 2 to 30 seconds.

Delay before Opening:  Adjustable from 0.0 to 3.0 seconds.

Sensor Masking:  Adjustable from 60 to 110 degrees.

Power Hold Close:  An adjustable feature that ensures latching.

Hold Open:  A selectable feature that indefinitely holds the door open until release.

Emergency Breakout:  Concealed system has an emergency breakaway capability that enables a folding overhead door to breakaway manually in the direction of egress.   System, by use of a breakaway track in the header will not activate until the door has been restored to the closed position.

Fold/Swing and Threshold Area Sensors:  Active infrared presence sensors meeting ANSI A156.10 requirements.

Activation Sensor: Motion sensor utilizes K-band frequency (24.125 GHz) for improved detection of slow-moving pedestrian traffic, and shall be switchable between bi-directional and uni-directional operation.  Circuitry is included to eliminate Radio Frequency Interference (RFI) and Electromagnetic Interference (EMI).  Relay hold time is adjustable from 0.5 seconds to 9 seconds and adjustable to meet  ANSI/BHMA 156.10.

Guide Rails:

Full energy operation: Guide rails must be installed per BHMA/ANSI 156.10.

ELECTRICAL CHARACTERISTICS AND COMPONENTS

Section 16150 - Wiring Connections: Requirements for electrical characteristics.

Electrical: 120 VAC, 60 Hz, 5 Amp service.

Section 16225 - Motors: Requirements for motors, NEMA MG1.

Wiring Terminations: Provide terminal lugs to match branch circuit conductor quantities, sizes, and materials indicated. Enclose terminal lugs in terminal box sized to NFPA 70.

** NOTE TO SPECIFIER **  Select the finish required from the following paragraphs as required for the project and delete the finishes not required.

FACTORY FINISH

Provide aluminum finishes in accordance with Aluminum Association Standard AA DAF-45.

Clear Anodized Aluminum Surfaces: 204-R1 Class-II anodized coating.

Color Anodized Aluminum Surfaces: 313-R1 Class-I Dark Bronze anodized coating.

Painted Aluminum Surfaces: As fabricated mechanical finish, chemically cleaned, and prepared for applied coating; with organic coating.

Organic Coating:

Manufacturer’s standard power coat finish

Thermosetting modified acrylic enamel.

High Performance Organic Coating:

Fluoropolymer coating system with minimum 70 percent polyvinylidene fluoride resin.

Color:

As selected from manufacturer's standard range.

Custom color as selected by the Architect.

To match glazed aluminum curtain wall.

Exposed Operator and Components: Finish

To match door and door hardware finish.

As selected from manufacturer's standard range.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

Verify that other trades are complete with their required work before installing the automatic swing door operating system.

Mounting surfaces shall be plumb, straight and secure; substrates shall be of proper dimension and material; material which door is anchored to shall be capable of supporting the automatic door system and associated loads.

Verify electric power is available and has correct characteristics.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

Set all units plumb, level and secure.

Provide all fasteners required for installation of the automatic sliding door system.

After repeated operation of the completed installation, inspect door operators and controls for optimum operating condition and safety.

Adjust door equipment for correct function and smooth operation.

Clean all metal surfaces promptly after installation.

Remove temporary protection, clean exposed surfaces.

FIELD QUALITY CONTROL

Manufacturers representative to verify that installation of doors and controls are in conformance to the manufacturer’s recommendations.

Installation of doors and controls shall be inspected and certified by an AAADM Certified Inspector prior to doors being placed into operation.

Provide a completed AAADM inspection form signed by a certified AAADM inspector after the door system is completely installed and tested including glazing.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION