SECTION 10 22 43 – SLIDING GLASS PARTITIONS

- GENERAL

      - SUMMARY

        - Section includes sliding fully-framed glass panel partitions.

        - Related Requirements:  Related project requirements can be found in the following documents:

          - Section 05 50 00 "Metal Fabrications" for overhead supports that attach glass panel partition tracks to structure.

          - Section 28 13 00 "Access Control" for security access system providing control for door access and intrusion detection systems interfacing with glass panel partition door controls.

      - REFERENCE STANDARDS

        - American Architectural Manufacturers Association (AAMA): www.aama.org:

          - AAMA 611 Voluntary Specification for Anodized Architectural Aluminum

        - ASTM International (ASTM): www.astm.org:

          - ASTM A666 Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar

          - ASTM B221/ASTM B221M Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes

          - ASTM C1048 Standard Specification for Heat-Strengthened and Fully Tempered Flat Glass

          - ASTM C1172 Standard Specification for Laminated Architectural Flat Glass

        - Builders Hardware Manufacturers Association (BHMA): www.buildershardware.com:

          - ANSI/BHMA A156 Series

        - Code of Federal Regulations

          - 16 CFR 1201 Safety Standard for Architectural Glazing Materials

        - International Code Council (ICC): www.iccsafe.org:

          - ICC A117.1 Accessible and Usable Buildings and Facilities (ANSI)

        - U.S. Architectural & Transportation Barriers Compliance Board:  www.access-board.gov:

          - Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities

      - ADMINISTRATIVE REQUIREMENTS

        - Coordination:

          - Coordinate installation of glass panel partitions with installation of floor, wall, and ceiling construction to comply with substrate tolerance requirements of partition manufacturer.

          - Coordinate installation of anchors and secondary structural members indicated on approved glass panel partition shop drawings and specified in other sections.

        - Preinstallation Conference:  Conduct conference at Project Site.

      - ACTION SUBMITTALS

        - Product Data:  For each glass panel partition and door component specified, including:

          - Glass panels.

          - Rails and top track.

          - Door hardware and accessories.

        - Shop Drawings: For fixed glass panel partitions.

          - Include plans, elevations, sections, and details. Provide numbered panel installation sequence.

          - Show locations and requirements for tracks, bracing, blocking, and attachments to other work.

          - Indicated stacking arrangements and clearances.

        - Hardware Schedule:

          - Submit hardware schedule for each door opening.

          - Include catalog cuts if not shown on shop drawings.

      - INFORMATIONAL SUBMITTALS

        - Qualification Data:  For qualified installer.

        - Warranty:  Sample of unexecuted manufacturer warranty.

      - QUALITY ASSURANCE

        - Installer Qualifications:  Experienced Installer equipped and trained for installation of glass panel partitions required for this Project with record of successful completion of not less than five projects of similar scope.

        - Single Source Responsibility:  Provide glass panel partitions and associated hardware by a single manufacturer through a single source.

      - WARRANTY

        - Special Manufacturer's Warranty:  Standard form in which manufacturer agrees to repair or replace components of glass panel partitions that demonstrate deterioration or faulty operation due to defects in materials or workmanship under normal use within warranty period specified.

          - Warranty Period:  Two years date of Substantial Completion.

- PRODUCTS

      - MANUFACTURERS

        - Basis-of-Design Product:  Provide sliding glass panel partitions manufactured by dormakaba, Inc.; (800) 523-8483; email: specification@dorma-usa.com; website: www.dorma.com.

        - Source Limitations: Obtain glass panel partition components through one source from a single manufacturer.

      - PERFORMANCE REQUIREMENTS

        - Accessibility Standard: Comply with applicable provisions in ADA-ABA Accessibility Guidelines for Buildings and Facilities.

      - GLASS PANEL PARTITIONS

        - Exterior Horizontal Sliding Glass Panel Partitions: Fully-framed top-hung stackable sliding glass panel partition with enhanced frame profiles, perimeter seals, insulating glass [, and equipped with pivoting door panels where indicated].

          - Basis of Design:  dormakaba Horizontal Sliding Wall HSW-R.

          - Stacking Arrangements: As indicated on Drawings.

          - Stacking Operation:  Manual.

          - Partition Top Track Rail: Aluminum extrusion designed for operation, size, and weight of framed glass panels, with factory-finished head closure trim and seals.

            - Track Mounting: Bolted to partition substructure.

          - Sliding Panel Carriers: Center-mounted, self-balancing trolley system designed for operation, size, and weight of glass panel door consisting of stainless steel components with vinyl roller surfaces.

        - Frames, General: Four-sided aluminum extrusion frame components in types, sizes, and mounting locations recommended by manufacturer for fixed and pivoting glass panel types, sizes, and operation shown.

          - Frame Configuration:

            - Top Rail: 4.88 inch (124 mm), with snap-in glass stops.

            - Bottom Rail:  4.33 inch (110 mm), with snap-in glass stops.

            - Vertical Stiles: 2 inch (51 mm), with snap-in glass stops.

          - Locking System: Mounted on bottom rail, engaged by use of interlocking floor slide bolt and face-mounted slide bolt.

          - Material and Finish: Aluminum extrusions finished as follows:

            - Aluminum, clear anodized.

        - Partition Substructure: Modular extruded aluminum I-beam with associated threaded rod, struts, brackets, plates, and fasteners designed for continuous support and rigid bracing of partition top track and adjustable following installation of partition to maintain partition within operating tolerances specified by manufacturer.

      - PIVOTING PANELS

        - Pivoting Panels:  Single- or double- action framed, single or paired glass panels matching fixed partition panel material and thickness; size and swing as indicated on Drawings.

      - MATERIALS

        - Aluminum: ASTM B221 (ASTM B221M), with strength and durability characteristics of not less than Alloy 6063-T5.

      - FINISHES

        - Aluminum Finish:

          - Clear anodic finish: AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

      - HARDWARE

        - Door Closers and Bottom Pivots: BHMA A156.4, Grade 1. Provide housings, arms, mounting brackets where required, and accessories.

          - Basis of Design:  DORMA, ITS96 Series Concealed Closer.

          - Swing:  Single- or double- acting as indicated on Drawings, with adjustable cushioned stop and positive dead stop and hold-open.

          - Opening Force: Comply with interior door operating force of authorities having jurisdiction for [accessibility requirements and egress doors.

          - Exposed Component Finish: Metallic painted aluminum.

        - Pulls and Handles: Back-to-back.

          - Design: As selected by Architect from manufacturer's standard designs.

        - Lock Cylinders: Flat key, five-pin, corrosion resistant nickel finish, anti-pick, function as selected by Architect.

          - Basis of Design: DORMA, Europrofile DEC 150.

        - Weather Stripping: Brush type; replaceable without removing door panels from pivots.

      - GLASS PANELS

        - Glass Panels, General: Provide glass panels that comply with 16 CFR 1201, Category II requirements for safety glazing. Permanently mark glazing with certification label of the SGCC.

          - Glass and Door Panel Thickness: Thickness required for size of panel based upon manufacturer's written recommendations, but not less than 10 mm.

        - Fully Tempered Clear Float Glass: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; thickness ½ inch.

- EXECUTION

      - EXAMINATION

        - Examine partition substrates to determine if work is within glass panel partition manufacturer's required tolerances and ready to receive work. Proceed with installation of partitions once conditions affecting installation and performance of partitions meet manufacturer's requirements.

      - PARTITION INSTALLATION

        - General: Comply with glass panel partition manufacturer's written installation instructions and approved shop drawings.

        - Install glass panel partitions after other finishing operations have been completed.

        - Set units level, plumb, and true to line, with uniform joints.

        - Fasten glass panel partition track and sill to building structure and supports as indicated on approved shop drawings, utilizing approved fasteners and spacing.

      - ADJUSTING

        - Adjust door closers to required timing and force.

        - Adjust latches and locks for smooth operation.

        - Test and adjust hardware linked to access control system.

        - Replace damaged panels and accessories.

      - CLEANING

        - Clean glass panels in accordance with glass manufacturer's written instructions. Do not use cleaning agents or methods not approved by glass manufacturer.

        - Clean exposed metal surfaces to factory new appearance.

END OF SECTION