DORMA Rail Fitting All-Glass Entrances and Storefronts – Guide Specification

DORMA DRS is a clamp-on rail system that enables quick and easy assembly. DRS rails arrive with the hardware installed and prepped. Clamp the rails onto a prepared tempered monolithic glass panel, or clamp and glue rails onto a prepared tempered laminated glass panel and the system is ready for installation. Five stock and an array of special order and custom finishes are available.

Features include:

● Onsite height adjustable

● Snap-on covers

● Onsite glass replacement

● Compatible with full range of DORMA hardware

● Single source for rails, sidelites, patch fittings, headers, and pulls

Unobtrusive design: Because the door rail fittings are so unobtrusive, architects and specifiers are free to choose any material and any color for the surrounding structures. The transparent door reflects and enhances their design to maximum advantage.

Tested quality: DORMA products are known for their outstanding quality and VISUR is no exception. Endurance tests have subjected the DORMA double-acting pivot system to over 500,000 operating cycles. These tests prove that a DORMA all-glass door will stand up to demanding traffic over time - embodying design and function in perfect transparency.

DORMA interior products and solutions help create balance between function and aesthetics in the interior architecture of office units and professional practices. They provide spatial efficiency, transparency, smooth transitions between spaces, comfort and flexibility.

We recommend you consult with your DORMA representative, who can be contacted through DORMA USA, Inc.; (844) 773-2669; email: specification@dorma.com; website: www.dorma.com.

DORMA USA products appear in the following CSI MasterFormat specifications sections:

DORMA Interiors

● 10 22 15 Fixed Glass Panel Partitions: PURE; PURE Enclose; Prive; Fusion

● 10 22 19 Demountable Glass Partitions: DORMA REVEAL

DORMA Glass Systems and Solutions

● 08 17 53 Interior Glass Door Assemblies: VISUR; AGILE 150 / Synchro; RS120 / Synchro; DRS120; 
              TENSOR, Beyond

● 08 41 26 All-Glass Entrances and Storefronts: Rail Fittings; Patch Fittings

● 10 22 39 Folding Partitions, Glass: FSW G, C

● 10 22 43 Sliding Partitions, Glass: HSW DRS, G, MR; HSW ISO; HSW GP, R

DORMA Entrances

● 08 42 29 Automatic Entrances, Swinging: ED100/ED250; ED400; ED400-IG; ED700

● 08 42 29 Automatic Entrances, Folding: ED1200

● 08 42 29 Automatic Entrances, Sliding: ESA100/ESA100T; SA200/ESA200T; ESA300/ESA300T; ESA400;
               ESA500

● 08 42 29 Automatic Sliding Interior Entrances: MAGNEO

● 08 42 43 ICU/CCU Entrances: ICU300 / 300T; ICU1200

CRANE REVOLVING DOOR

● 08 42 33 Revolving Door Entrances: 1000 Series; 2000 Series; 3000 Series; 4000 Series; KTC Series

This document is Copyright© 2014 by DORMA USA, Inc.

This guide specification is based upon DORMA DRS and DRS Dri-Fit Rails.

SECTION 08 41 26 – ALL-GLASS ENTRANCES

GENERAL

SUMMARY

Section includes swinging, double-acting [exterior] [and] [interior] all-glass door [and sidelite] assemblies with concealed closers, rail fittings, and top and bottom pivots.

REFERENCE STANDARDS

Specifier: If retaining References article, edit the list below to include only those references in the edited section.

American Architectural Manufacturers Association (AAMA): www.aama.org:

AAMA 611 Voluntary Specification for Anodized Architectural Aluminum

ASTM International (ASTM): www.astm.org:

ASTM C1048 Standard Specification for Heat-Strengthened and Fully Tempered Flat Glass

Builders Hardware Manufacturers Association (BHMA): www.buildershardware.com:

ANSI/BHMA A156 Series

Code of Federal Regulations

16 CFR 1201 Safety Standard for Architectural Glazing Materials

International Code Council (ICC): www.iccsafe.org:

ICC A117.1 Accessible and Usable Buildings and Facilities (ANSI)

U.S. Architectural & Transportation Barriers Compliance Board: www.access-board.gov:

Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities

ADMINISTRATIVE REQUIREMENTS

Coordination:

Coordinate installation of all-glass door assemblies with installation of floor and wall opening construction to comply with tolerance requirements of recessed components.

Coordinate installation of anchors and blocking indicated on all-glass entrance shop drawings.

ACTION SUBMITTALS

Product Data: For each all-glass entrance component, including:

Glass panels.

Rail fittings.

Closer and pivots.

Auxiliary door hardware and accessories.

Shop Drawings: For glass door assemblies.

Include plans, elevations, sections, and details. Use glass panel type designations used in this Section and on Drawings.

Locations and requirements for recesses and attachments to other work.

Door hardware locations, mounting heights, and installation requirements.

Samples for Verification: For each exposed component including hardware, for each color and finish selected, of size indicated below:

Glass: 6 inches (150 mm) square, showing exposed-edge finish[ and tint].

Hardware: One of each type of exposed door hardware items.

INFORMATIONAL SUBMITTALS

Qualification Data: For qualified installer.

Warranty: Sample of unexecuted manufacturer warranty.

CLOSEOUT SUBMITTALS

Maintenance Data: For all-glass door assemblies, to include in maintenance manuals.

QUALITY ASSURANCE

Installer Qualifications: Experienced Installer equipped and trained for installation of glass door assemblies required for this Project with record of successful completion of not less than five projects of similar scope.

WARRANTY

Special Manufacturer's Warranty: Standard form in which manufacturer agrees to repair or replace components of glass door assemblies that demonstrate deterioration or faulty operation due to defects in materials or workmanship under normal use within warranty period specified.

Warranty Period: [Two] years date of Substantial Completion.

PRODUCTS

MANUFACTURERS

Specifier: Retain option in "Basis of Design Product" Paragraph for evaluating substitutions when required for project.

Basis-of-Design Product: Provide glass door assemblies manufactured by DORMA USA, Inc.; (844) 773-2669; email: specification@dorma-usa.com; website: www.dorma.com, [or comparable products of other manufacturer approved by Architect in accordance with Instructions to Bidders and Division 01 General Requirements].

Source Limitations: Provide all-glass entrance assemblies including glass panels, fittings and hardware, and accessories through one source from a single manufacturer.

ALL-GLASS ENTRANCE ASSEMBLIES

Accessibility Standard: Comply with applicable provisions in ADA-ABA Accessibility Guidelines for Buildings and Facilities [and] [ICC A117.1] [requirements of authorities having jurisdiction].

All-Glass Entrance Assembly Configurations: [Exterior] [Interior] tempered-glass frameless entrance assembly, with perimeter fittings, rail fitting mountings and supports, door pivots[, closers] [, locks] [, and] [accessories].

Manual-Swinging, All-Glass Entrance Doors:

Rail fittings at head and sill [, and for lock at sill of swing side] [, and for lock and strike].

Single Door:  Size as scheduled [, single-action] [, double-action].

Double Door:  Size as scheduled [, single-action] [, double-action].

Door Supports: [Adjacent glass panels] [Building structure indicated on Drawings] [Metal frame specified in another section].

[Sidelights] [, and] [Transoms] [, and Fins]: Glass panels of material and thickness specified, of size indicated on Drawings, held within [dry gasket glazing channel] [glazing U channels] [rail] perimeter fittings[, including mechanical channel at suspended transom].

All-Glass Storefronts: Glass panels of material and thickness specified, of size indicated on Drawings, held within [dry gasket glazing channel] [glazing U channel] [rail] perimeter fittings[, including mechanical channel at suspended transom].

RAIL FITTINGS

Rail Fittings, General: All-glass clamping fittings in types, sizes, quantities, and mounting locations recommended by manufacturer for glass door types, sizes, and operation and glass panel configurations.

Basis of Design, DORMA DRS Rails.

Material and Finish:

Aluminum, [clear anodized] [dark bronze color anodized] [black color anodized] [aluminum color anodized] [stainless steel color anodized].

Aluminum, [Brass-clad aluminum] [Bronze-clad aluminum] [Stainless-steel-clad aluminum].

Aluminum, powder coated, <match Architect's custom color> <insert color>.

Brass, [satin, without lacquer] [polished, without lacquer].

Bronze, [satin, without lacquer] [polished, without lacquer].

Stainless steel, [satin] [polished].

Rail Configurations:

Top Rail: [2-1/2 inches (63.5 mm)] [3-5/8 inches (92 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [10 inches (254 mm)] by length required for door size indicated.

              - Profile: [Square] [Tapered].

              - Hardware: With manufacturer's standard pivot [and lock].

Bottom Rail: [2-1/2 inches (63.5 mm)] [3-5/8 inches (92 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [10 inches (254 mm)] by length required for door size indicated.

              - Profile: [Square] [Tapered].

              - With manufacturer's standard pivot [and lock].

End Caps: Manufacturer's standard precision-fit end caps for rail fittings.

Materials:

Aluminum: ASTM B 221 (ASTM B 221M), with strength and durability characteristics of not less than Alloy 6063-T5.

Bronze Cladding: ASTM B 36/B 36M, alloy as standard with manufacturer.

Brass Cladding: ASTM B 36/B 36M, alloy as standard with manufacturer.

Stainless-Steel Cladding: ASTM A 666, Type 304.

Specifier: Retain applicable door hardware components in "Door Hardware and Fittings" Article. Show location of door hardware components on Drawings.

DORMA offers a wide array of applicable door hardware options for interior glass door assemblies. Consult DORMA representative for additional options, including electronic access controls.

DOOR HARDWARE

General: Heavy-duty entrance door hardware units in sizes, quantities, and types recommended by manufacturer for all-glass entrance systems indicated. For exposed parts, match metal and finish of rail fittings.

Concealed Transom Closers and Bottom Pivots: Center hung; BHMA A156.4, Grade 1. Provide housings, bottom arms, top walking beam pivots, mounting plates, auxiliary stop, and accessories.

Basis of Design:  DORMA, RTS88 Series.

Swing:  Single or double acting as indicated on Drawings[, with positive dead stop] [and hold-open].

Hold Open: [105 degree] [90 degree].

Opening Force: Comply with interior door operating force of authorities having jurisdiction for [accessibility requirements] [and] [egress doors].

Specifier:  Typically specify DORMA BTS75 Floor Closer, which is suitable for thin slab applications, and is equipped with a fixed hold-open function; it is suitable for doors weighing up to 260 lb. BTS80 Floor Closer is available for heavy doors and is equipped with an adjustable hold-open function; it is suitable for doors weighing up to 660 lb. Note that BTS80 may not meet ADA-stipulated 5 lb. opening force requirements if applicable.

Concealed Floor Closers and Top Pivots: Center hung; BHMA A156.4, Grade 1. Provide housings, bottom insert, top walking beam pivots, mounting plates, and accessories.

Basis of Design:  DORMA, [BTS75] [BTS80] Series.

Swing:  Single or double acting as indicated on Drawings.

Hold Open: [Fixed] [Adjustable].

Opening Force: Comply with interior door operating force of authorities having jurisdiction for [accessibility requirements] [and] [egress doors] .

Concealed Low-Energy In-Floor Door Operator and Top Pivots: [Center] [Offset] hung; BHMA A156.19. Provide housings, bottom insert, top pivots, mounting plates, and accessories.

Basis of Design:  DORMA, ED400-IG Series.

Swing:  Single acting as indicated on Drawings.

Hold Open: [Fixed] [Adjustable].

Operation: Power opening and power-assisted spring closing. Provide time delay for door to remain open before initiating closing cycle as required by BHMA A156.19. When not in automatic mode, door operator shall function as manual door closer, with or without electrical power.

Opening Force if Power Fails: Not more than 15 lbf (67 N) required to release latch if provided, not more than 30 lbf (133 N) required to manually set door in motion, and not more than 15 lbf (67 N) required to fully open door.

Accessible Interior Doors: Not more than 5 lbf (22 N) to push or pull door to fully open position.

Activation Device: [Push-plate switch] [Push-button switch] [Key switch] [on each side of door] to activate door operator.

Specifier: A wide variety of DORMA decorative operating trim designs are suitable for use with DORMA  swinging doors.

Pulls and Handles: [One-sided] [Back-to-back].

Design: Vertical bar, [13-3/4 inch (350 mm)] [28-3/8 inch (7250 mm)] [48-13/16 inch (1240 mm)] [69-1/4 inch (1760 mm)].

Basis of Design: DORMA, Ladder Pull.

Design: Arced shape matching fitting profile, [13-3/4 inch (350 mm)] [29-1/2 inch (750 mm)].

Basis of Design: DORMA, ARCOS Handle Bar.

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Mechanical Locks and Latches:

Single-Door and Active-Leaf Locksets: Manufacturer’s standard patch dead-bolt locksets.

Mortise lock and housing:

Basis of Design: DORMA, CLM9000 Series <insert function, lever, and cylinder information>.

Specifier: Three DORMA locksets below utilize Euro profile key cylinders.

Basis of Design: DORMA, Studio Series <insert function, lever, and cylinder information>.

Basis of Design: DORMA, Junior Office Series <insert function, lever, and cylinder information>.

Basis of Design: DORMA, Arcos Series <insert function, lever, and cylinder information>.

Inactive-Leaf Locksets: Manufacturer’s standard hook-bolt locksets.

Bottom patch fitting dead bolt engaging a dust proof strike operated by key outside and thumb turn inside.

Lock and Latch Housings: Patch mounting to glass panel door, with matching strike mounted in housing on adjacent glass panel.

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Levers: Wrought, with wrought escutcheons.

Design: [Specifier insert design] [As selected by Architect from manufacturer's standard designs].

Electromagnetic Locks: BHMA A156.23; electrically powered; with electromagnet attached to transom or frame and armature plate attached to door.

Basis of Design: DORMA, EMSL Series Shear Lock.

Specifier: Retain one of two "Lock Cylinder" paragraphs below.

Lock Cylinders: Tumbler type, constructed from brass or bronze, stainless steel, or nickel silver; BHMA A156.5, Grade 1, permanent removable cores; with face finish matching lockset[, keyed to master key system].

Lock Cylinders: As specified in Section 08 71 00 "Door Hardware."

Weather Stripping: [Pile] [Brush] type; replaceable without removing all-glass entrance doors from pivots.

Specifier: Select one or more of the glass types from list below as required for project. If more than one glass type is required, retain the optional drawing designations and indicate locations of each type on Drawings. Consult DORMA representative for availability of additional glass panel options.

GLASS PANELS

Glass Panels, General:

Provide glass panels that comply with 16 CFR 1201, Category II requirements for safety glazing. Permanently mark glazing with certification label of the SGCC.

Provide glass panels with exposed edges machine ground and flat polished.

Provide holes and cutouts in glass to receive hardware, fittings, and accessories prior to tempering glass.  Do not cut, drill, or make other alterations to glass after tempering.

Fully temper glass using horizontal (roller-hearth) process, and fabricate so that when glass is installed, roll-wave distortion is parallel with bottom edge of door or lite.

Fully Tempered Clear Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; thickness [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19.0 mm)].

Fully Tempered Laminated Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; thickness [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19.0 mm)].

Fully Tempered Ultraclear (Low-Iron) Float Glass [GL#__]: ASTM C 1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3, with visible light transmission of not less than 91 percent; thickness [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19.0 mm)].

Fully Tempered Tinted Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 2, Quality-Q3; thickness [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19.0 mm)].

Specifier: Consult DORMA representative for more information on the variety of textured and art glass and custom glass treatments that are available.

Textured Glass: Clear Fully Tempered Float Glass [GL#__]: ASTM C1048, Kind FT, Condition A, Type I, Class 1, Quality-Q3; Finish F1 (textured one side); thickness [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm)] [3/4 inch (19.0 mm)].

Designer Glass Pattern: [Skyline Design] [Joel Berman Studios] <Insert designer glass source>, <Insert texture and pattern description>.

FABRICATION

General:  Fabricate all-glass door assemblies in sizes, profiles, and configurations shown on Drawings.

EXECUTION

EXAMINATION

Examine door opening to determine if work is within all-glass entrance manufacturer's required tolerances and ready to receive work. Proceed with installation once conditions affecting installation and performance meet manufacturer's requirements.

DOOR INSTALLATION

General: Comply with all-glass entrance manufacturer's written installation instructions and approved shop drawings.

Install all-glass door assemblies after other finishing operations have been completed. Coordinate installation of recesses housings with installation of adjacent finishes.

Set units level, plumb, and true to line, with uniform joints.

Maintain uniform clearances between adjacent components.

Secure housings and components to building structure using manufacturer's recommended fasteners suitable for application.

ADJUSTING

Adjust doors and hardware to produce smooth operation and uniform fit.

Adjust door closers to required timing and force.

Adjust hardware for smooth operation.

Replace damaged glass panels and accessories.

CLEANING

Clean glass panels in accordance with glass manufacturer's written instructions. Do not use cleaning agents or methods not approved by glass manufacturer.

Clean exposed metal surfaces to factory new appearance.

END OF SECTION

Additional Specifiers Notes

Substitution Reviews: When reviewing substitution requests for other products for compliance with this specification, DORMA recommends particular attention to the following issues:

Fully concealed door operating mechanisms: Design details of DORMA's all-glass door assemblies are what give them the visual appeal that caused them to be selected as a basis of design

Door Hardware Options: DORMA's position as an international leader in decorative door hardware allows DORMA to offer a complete array of coordinated hardware options and finishes for interior glass door assemblies .

Coordination: Make sure you coordinate the following:

● Locations, dimensions, and operation of doors including active and inactive leafs and swing travel

● Elevations indicating details of special decorative glass elements

● Details of floor finishes in relation to recessed bottom pivot housing.

● Details of opening finishes in relation to overhead closer header plate.